# RFP#YESP2022-03 Infrastructure Equipment E-rate FCC Form 470 220015578 Q&As

1. Can YES Prep provide floor plans with cable locations?
   * We will not be providing floor plans at this time. Refer to the RFP for quantities of cable runs.
2. If multiple buildings can YES Prep provide counts per building?
   * Yes, please see below for the estimated breakdown per site. This is estimated only, other schools may be included as well.
     + East End Elementary – 110 cable runs
     + Northline Secondary – 60 cable runs
     + Airline Elementary – 60 cable runs
3. Can YES Prep confirm the ceiling type per building where the cables will be installed?
   * There is a combination of drop ceiling and exposed ceiling.
4. Is there any coring that needs to be done for cable pathways?
   * No, the general contractor for construction provides.
5. Is the installation to be done during summer break or during regular school time after hours?
   * Work will be performed during regular hours. These are new construction sites.
6. Is conduit required cable pathway anywhere?
   * Limited areas may require conduit.
7. Is a lift needed anywhere for cable installation?
   * Yes, vendor may provide a lift where needed.
8. Does installation of the switches include patching the copper and fiber ports? If so, who is providing the port mapping?
   * Yes, installation does include patching the copper and fiber ports. Vendor will need to provide the port mapping.
   * Installation does not include configuration of the equipment.